## Sheet1
name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service | voltage | element_type | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | load_factor | controllable | vm_pu | min_q_mvar | max_q_mvar | slack | slack_weight | min_p_mw | max_p_mw | vn_kv | cos_phi | technology | fueltype | price_per_powerplant | price_per_generator | cost_per_mw | original_p_mw | original_min_p_mw | original_max_p_mw | status | time_running_hr | time_idle_hr | start_up_progress_hr | shut_down_progress_hr | operation_can_start | operation_can_stop | start_up_triggered | shut_down_triggered | operating_cost_this_step | start_up_cost | shut_down_cost | start_time_hr | shutdown_time_hr | min_on_time_hr | min_off_time_hr
TEB-K_NEK |  | 164 | 77 | 7.34 | 0.117 | 0.394 | 14.2 | 0 | 0.645 | 1 | 1 | ol | FALSE | 110 | bus
TEB-KRS1 |  | 77 | 164 | 8.634 | 0.119 | 0.398 | 8.92 | 0 | 0.645 | 1 | 1 | ol | FALSE | 110 | bus
KAR-O.KAR2 |  | 111 | 70 | 0.734 | 0.193 | 0.386 | 9.5402 | 0 | 0.47 | 1 | 1 | ol | FALSE | 110 | bus
Z_RA-RAV |  | 146 | 145 | 0.691 | 0.032 | 0.132 | 215.9988 | 0 | 0.645 | 1 | 1 | ol | FALSE | 110 | bus
MAR-KAi1 |  | 97 | 67 | 23.951 | 0.03 | 0.31 | 11.692 | 0 | 1.92 | 1 | 1 | ol | FALSE | 400 | bus
K_DES-KRS |  | 77 | 79 | 1.55 | 0.1077 | 0.3542 | 33.4989 | 0 | 0.645 | 1 | 1 | ol | FALSE | 110 | bus
BER-KRS2 |  | 4 | 78 | 80.4 | 0.03019 | 0.31353 | 11.65 | 0 | 1.92 | 1 | 1 | ol | FALSE | 400 | bus
NEK-MAR |  | 97 | 78 | 75.631 | 0.03 | 0.323 | 11.37 | 0 | 1.92 | 1 | 1 | ol | FALSE | 400 | bus
BER-KRS1 |  | 4 | 78 | 80.4 | 0.03019 | 0.31353 | 11.65 | 0 | 1.92 | 1 | 1 | ol | FALSE | 400 | bus
KAR-O.KAR1 |  | 110 | 70 | 0.734 | 0.193 | 0.386 | 9.5402 | 0 | 0.47 | 1 | 1 | ol | FALSE | 110 | bus
POD-RAV400 |  | 148 | 128 | 39.892 | 0.03 | 0.3 | 12 | 0 | 1.92 | 1 | 1 | ol | FALSE | 400 | bus
CIR-NEK |  | 78 | 20 | 57.367 | 0.0308 | 0.3217 | 11.389 | 0 | 1.92 | 1 | 1 | ol | FALSE | 400 | bus
TEB-KRS2 |  | 77 | 164 | 8.634 | 0.119 | 0.398 | 8.92 | 0 | 0.645 | 1 | 1 | ol | FALSE | 110 | bus
NEK-ZAG1 |  | 78 | 182 | 16.1 | 0.03 | 0.325 | 11.141 | 0 | 1.92 | 1 | 1 | ol | FALSE | 400 | bus
HEBRE-MOK |  | 39 | 48 | 13 | 0.11931 | 0.40364 | 8.89 | 0 | 0.645 | 1 | 1 | ol | FALSE | 110 | bus
KAR-KOR |  | 70 | 76 | 0.546 | 0.119 | 0.407 | 9.1599 | 0 | 0.645 | 1 | 1 | ol | FALSE | 110 | bus
HEBRE-BRE |  | 39 | 9 | 2.155 | 0.11931 | 0.40364 | 8.8899 | 0 | 0.645 | 1 | 1 | ol | FALSE | 110 | bus
BLA-TEB |  | 164 | 37 | 8.338 | 0.117 | 0.388 | 14.9 | 0 | 0.645 | 1 | 1 | ol | FALSE | 110 | bus
POD-MAR |  | 97 | 128 | 71.442 | 0.03 | 0.323 | 11.38 | 0 | 1.68 | 1 | 1 | ol | FALSE | 400 | bus
KRS-HUD |  | 77 | 58 | 33.907 | 0.119 | 0.401 | 9.2 | 0 | 0.645 | 1 | 1 | ol | FALSE | 110 | bus
TEB-HUD1 |  | 58 | 164 | 35.864 | 0.1816 | 0.423 | 12.131 | 0 | 0.47 | 1 | 1 | ol | FALSE | 110 | bus
POD-OBE |  | 127 | 113 | 65.492 | 0.061 | 0.413 | 8.89 | 0 | 0.96 | 1 | 1 | ol | FALSE | 220 | bus
TEB-HEKRS |  | 164 | 44 | 3.817 | 0.1045 | 0.359 | 42.44 | 0 | 0.645 | 1 | 1 | ol | FALSE | 110 | bus
HEKRS-K_DES |  | 44 | 79 | 4.207 | 0.10578 | 0.3632 | 39.219 | 0 | 0.645 | 1 | 1 | ol | FALSE | 110 | bus
NEK-ZAG2 |  | 78 | 183 | 16.1 | 0.03 | 0.325 | 11.141 | 0 | 1.92 | 1 | 1 | ol | FALSE | 400 | bus
TEB-HUD2 |  | 164 | 58 | 35.864 | 0.1816 | 0.423 | 12.131 | 0 | 0.47 | 1 | 1 | ol | FALSE | 110 | bus
KRS-MOK |  | 77 | 48 | 19 | 0.11931 | 0.40364 | 8.89 | 0 | 0.645 | 1 | 1 | ol | FALSE | 110 | bus
KRS-BREZ |  | 77 | 9 | 9.672 | 0.1193 | 0.404 | 8.89 | 0 | 0.645 | 1 | 1 | ol | FALSE | 110 | bus
RAV-OBE400 |  | 148 | 114 | 14 | 0.03 | 0.3 | 12 | 0 | 1.92 | 1 | 1 | ol | FALSE | 400 | bus
KRS-DB_V |  | 29 | 77 | 17.907 | 0.119 | 0.401 | 9.2 | 0 | 0.645 | 1 | 1 | ol | FALSE | 110 | bus
LIT-TEB2/2 |  | 164 | 136 | 40.023 | 0.119 | 0.413 | 8.89 | 0 | 0.645 | 1 | 1 | ol | FALSE | 110 | bus
TEB-K_NEK |  | 164 | 77 | 7.34 | 0.117 | 0.394 | 14.2 | 0 | 0.645 | 1 | 1 | ol | FALSE | 110 | line
TEB-KRS1 |  | 77 | 164 | 8.634 | 0.119 | 0.398 | 8.92 | 0 | 0.645 | 1 | 1 | ol | FALSE | 110 | line
KAR-O.KAR2 |  | 111 | 70 | 0.734 | 0.193 | 0.386 | 9.5402 | 0 | 0.47 | 1 | 1 | ol | FALSE | 110 | line
Z_RA-RAV |  | 146 | 145 | 0.691 | 0.032 | 0.132 | 215.9988 | 0 | 0.645 | 1 | 1 | ol | FALSE | 110 | line
MAR-KAi1 |  | 97 | 67 | 23.951 | 0.03 | 0.31 | 11.692 | 0 | 1.92 | 1 | 1 | ol | FALSE | 400 | line
K_DES-KRS |  | 77 | 79 | 1.55 | 0.1077 | 0.3542 | 33.4989 | 0 | 0.645 | 1 | 1 | ol | FALSE | 110 | line
BER-KRS2 |  | 4 | 78 | 80.4 | 0.03019 | 0.31353 | 11.65 | 0 | 1.92 | 1 | 1 | ol | FALSE | 400 | line
NEK-MAR |  | 97 | 78 | 75.631 | 0.03 | 0.323 | 11.37 | 0 | 1.92 | 1 | 1 | ol | FALSE | 400 | line
BER-KRS1 |  | 4 | 78 | 80.4 | 0.03019 | 0.31353 | 11.65 | 0 | 1.92 | 1 | 1 | ol | FALSE | 400 | line
KAR-O.KAR1 |  | 110 | 70 | 0.734 | 0.193 | 0.386 | 9.5402 | 0 | 0.47 | 1 | 1 | ol | FALSE | 110 | line
POD-RAV400 |  | 148 | 128 | 39.892 | 0.03 | 0.3 | 12 | 0 | 1.92 | 1 | 1 | ol | FALSE | 400 | line
CIR-NEK |  | 78 | 20 | 57.367 | 0.0308 | 0.3217 | 11.389 | 0 | 1.92 | 1 | 1 | ol | FALSE | 400 | line
TEB-KRS2 |  | 77 | 164 | 8.634 | 0.119 | 0.398 | 8.92 | 0 | 0.645 | 1 | 1 | ol | FALSE | 110 | line
NEK-ZAG1 |  | 78 | 182 | 16.1 | 0.03 | 0.325 | 11.141 | 0 | 1.92 | 1 | 1 | ol | FALSE | 400 | line
HEBRE-MOK |  | 39 | 48 | 13 | 0.11931 | 0.40364 | 8.89 | 0 | 0.645 | 1 | 1 | ol | FALSE | 110 | line
KAR-KOR |  | 70 | 76 | 0.546 | 0.119 | 0.407 | 9.1599 | 0 | 0.645 | 1 | 1 | ol | FALSE | 110 | line
HEBRE-BRE |  | 39 | 9 | 2.155 | 0.11931 | 0.40364 | 8.8899 | 0 | 0.645 | 1 | 1 | ol | FALSE | 110 | line
BLA-TEB |  | 164 | 37 | 8.338 | 0.117 | 0.388 | 14.9 | 0 | 0.645 | 1 | 1 | ol | FALSE | 110 | line
POD-MAR |  | 97 | 128 | 71.442 | 0.03 | 0.323 | 11.38 | 0 | 1.68 | 1 | 1 | ol | FALSE | 400 | line
KRS-HUD |  | 77 | 58 | 33.907 | 0.119 | 0.401 | 9.2 | 0 | 0.645 | 1 | 1 | ol | FALSE | 110 | line
TEB-HUD1 |  | 58 | 164 | 35.864 | 0.1816 | 0.423 | 12.131 | 0 | 0.47 | 1 | 1 | ol | FALSE | 110 | line
POD-OBE |  | 127 | 113 | 65.492 | 0.061 | 0.413 | 8.89 | 0 | 0.96 | 1 | 1 | ol | FALSE | 220 | line
TEB-HEKRS |  | 164 | 44 | 3.817 | 0.1045 | 0.359 | 42.44 | 0 | 0.645 | 1 | 1 | ol | FALSE | 110 | line
HEKRS-K_DES |  | 44 | 79 | 4.207 | 0.10578 | 0.3632 | 39.219 | 0 | 0.645 | 1 | 1 | ol | FALSE | 110 | line
NEK-ZAG2 |  | 78 | 183 | 16.1 | 0.03 | 0.325 | 11.141 | 0 | 1.92 | 1 | 1 | ol | FALSE | 400 | line
TEB-HUD2 |  | 164 | 58 | 35.864 | 0.1816 | 0.423 | 12.131 | 0 | 0.47 | 1 | 1 | ol | FALSE | 110 | line
KRS-MOK |  | 77 | 48 | 19 | 0.11931 | 0.40364 | 8.89 | 0 | 0.645 | 1 | 1 | ol | FALSE | 110 | line
KRS-BREZ |  | 77 | 9 | 9.672 | 0.1193 | 0.404 | 8.89 | 0 | 0.645 | 1 | 1 | ol | FALSE | 110 | line
RAV-OBE400 |  | 148 | 114 | 14 | 0.03 | 0.3 | 12 | 0 | 1.92 | 1 | 1 | ol | FALSE | 400 | line
KRS-DB_V |  | 29 | 77 | 17.907 | 0.119 | 0.401 | 9.2 | 0 | 0.645 | 1 | 1 | ol | FALSE | 110 | line
LIT-TEB2/2 |  | 164 | 136 | 40.023 | 0.119 | 0.413 | 8.89 | 0 | 0.645 | 1 | 1 | ol | FALSE | 110 | line
051 | [11 empty] | wye | FALSE |  | load | 164 | 3.0499 | 0 | 0 | 0 |  | 1 | 0.0033698 | FALSE
149 | [11 empty] | wye | FALSE |  | load | 48 | 2.401 | 0 | 0 | 0 |  | 1 | 0.0026528 | FALSE
009 | [11 empty] | wye | FALSE |  | load | 48 | 6.3457 | 0 | 0 | 0 |  | 1 | 0.0070111 | FALSE
Brezice - Gen 3 | [11 empty] | sync | FALSE |  | gen | 39 | 15.8 |  |  |  | 21.5 | 1 |  | TRUE | 1 | 0 | 0 | FALSE | 0 | 1.4992 | 17.9909 | 110 | 0.73488 | ror | ror | 10.0181 | 3.3394 | 3.3394 | 15.8 | 1.4992 | 17.9909 | on | 121 | 0 | 0 | 0 | FALSE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0
KRS - O_RES | [11 empty] | sync | FALSE |  | gen | 77 | 4 |  |  |  | 4 | 1 |  | TRUE | 1 | 0 | 0 | FALSE | 0 | 0 | 5.1064 | 110 | 1 | unknown | unknown | 0 | 0 | 0 | 4 | 0 | 5.1064 | on | 121 | 0 | 0 | 0 | FALSE | TRUE | FALSE | FALSE | 0
TEB-PB6_GU_SM | [11 empty] | sync | FALSE |  | gen | 164 | 53 |  |  |  | 66.25 | 1 |  | TRUE | 1 | -19.88 | 19.88 | FALSE | 0 | 0.5 | 25.44 | 110 | 0.8 | CCGT | CCGT | 112.2139 | 18.7023 | 18.7023 | 53 | 0.5 | 53 | on | 121 | 0 | 0 | 0 | FALSE | TRUE | FALSE | FALSE | 0 | 21.228 | 2.1228 | 2 | 1 | 0 | 0
TEB-PB7_GU_SM | [11 empty] | sync | FALSE |  | gen | 164 | 50 |  |  |  | 62.5 | 1 |  | TRUE | 1 | -18.75 | 18.75 | FALSE | 0 | 0.5 | 24 | 110 | 0.8 | CCGT | CCGT | 112.2139 | 18.7023 | 18.7023 | 50 | 0.5 | 50 | on | 121 | 0 | 0 | 0 | FALSE | TRUE | FALSE | FALSE | 0 | 21.228 | 2.1228 | 2 | 1 | 0 | 0
NEK | [11 empty] | sync | FALSE |  | gen | 78 | 695.9997 |  |  |  | 809.302 | 1 |  | TRUE | 1 | -242.79 | 242.79 | FALSE | 0 | 266 | 0 | 400 | 0.86 | Steam Turbine | nuclear | 14.0133 | 14.0133 | 14.0133 | 695.9997 | 266 | 703 | on | 121 | 0 | 0 | 0 | FALSE | TRUE | FALSE | FALSE | 0 | 1061.4 | 1061.4 | 24 | 24 | 24 | 24
Mokrice - Gen 2 | [11 empty] | sync | FALSE |  | gen | 48 | 9.35 |  |  |  | 12.5 | 1 |  | TRUE | 1 | 0 | 0 | FALSE | 0 | 0 | 10.4947 | 110 | 0.748 | ror | ror | 10.0305 | 3.3435 | 3.3435 | 9.35 | 0 | 10.4947 | on | 121 | 0 | 0 | 0 | FALSE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0
TEB-PB4_GU_SM | [11 empty] | sync | FALSE |  | gen | 164 | 114 |  |  |  | 142.5 | 1 |  | TRUE | 1 | -42.75 | 42.75 | FALSE | 0 | 4 | 54.72 | 110 | 0.8 | CCGT | CCGT | 112.2139 | 18.7023 | 18.7023 | 114 | 4 | 114 | on | 121 | 0 | 0 | 0 | FALSE | TRUE | FALSE | FALSE | 0 | 21.228 | 2.1228 | 2 | 1 | 0 | 0
TEB-PB5_GU_SM | [11 empty] | sync | FALSE |  | gen | 164 | 114 |  |  |  | 142.5 | 1 |  | TRUE | 1 | -42.75 | 42.75 | FALSE | 0 | 4 | 54.72 | 110 | 0.8 | CCGT | CCGT | 112.2139 | 18.7023 | 18.7023 | 114 | 4 | 114 | on | 121 | 0 | 0 | 0 | FALSE | TRUE | FALSE | FALSE | 0 | 21.228 | 2.1228 | 2 | 1 | 0 | 0
KRS - PV | [11 empty] | sync | FALSE |  | gen | 77 | 40 |  |  |  | 40 | 1 |  | TRUE | 1 | 0 | 0 | FALSE | 0 | 0 | 96.3989 | 110 | 1 | solar | solar | 0.0106 | 0.0106 | 0.0106 | 40 | 0 | 96.3989 | on | 121 | 0 | 0 | 0 | FALSE | TRUE | FALSE | FALSE | 0
KRS - O_nonRES | [11 empty] | sync | FALSE |  | gen | 77 | 12 |  |  |  | 12 | 1 |  | TRUE | 1 | 0 | 0 | FALSE | 0 | 0 | 14.2105 | 110 | 1 | unknown | unknown | 0 | 0 | 0 | 12 | 0 | 14.2105 | on | 121 | 0 | 0 | 0 | FALSE | TRUE | FALSE | FALSE | 0
Mokrice - Gen 1 | [11 empty] | sync | FALSE |  | gen | 48 | 9.35 |  |  |  | 12.5 | 1 |  | TRUE | 1 | 0 | 0 | FALSE | 0 | 0 | 10.4947 | 110 | 0.748 | ror | ror | 10.0305 | 3.3435 | 3.3435 | 9.35 | 0 | 10.4947 | on | 121 | 0 | 0 | 0 | FALSE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0
TEB-PB2_GU_SM | [11 empty] | sync | FALSE |  | gen | 164 | 23 |  |  |  | 28.75 | 1 |  | TRUE | 1 | -8.62 | 8.62 | FALSE | 0 | 2 | 11.04 | 110 | 0.8 | CCGT | CCGT | 112.2139 | 18.7023 | 18.7023 | 23 | 2 | 23 | on | 121 | 0 | 0 | 0 | FALSE | TRUE | FALSE | FALSE | 0 | 21.228 | 2.1228 | 2 | 1 | 0 | 0
Mokrice - Gen 3 | [11 empty] | sync | FALSE |  | gen | 48 | 9.35 |  |  |  | 12.5 | 1 |  | TRUE | 1 | 0 | 0 | FALSE | 0 | 0 | 10.4947 | 110 | 0.748 | ror | ror | 10.0305 | 3.3435 | 3.3435 | 9.35 | 0 | 10.4947 | on | 121 | 0 | 0 | 0 | FALSE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0
Brezice - Gen 2 | [11 empty] | sync | FALSE |  | gen | 39 | 15.8 |  |  |  | 21.5 | 1 |  | TRUE | 1 | 0 | 0 | FALSE | 0 | 1.4992 | 17.9909 | 110 | 0.73488 | ror | ror | 10.0181 | 3.3394 | 3.3394 | 15.8 | 1.4992 | 17.9909 | on | 121 | 0 | 0 | 0 | FALSE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0
TEB-PB3_GU_SM | [11 empty] | sync | FALSE |  | gen | 164 | 23 |  |  |  | 28.75 | 1 |  | TRUE | 1 | -8.62 | 8.62 | FALSE | 0 | 2 | 11.04 | 110 | 0.8 | CCGT | CCGT | 112.2139 | 18.7023 | 18.7023 | 23 | 2 | 23 | on | 121 | 0 | 0 | 0 | FALSE | TRUE | FALSE | FALSE | 0 | 21.228 | 2.1228 | 2 | 1 | 0 | 0
Brezice - Gen 1 | [11 empty] | sync | FALSE |  | gen | 39 | 15.8 |  |  |  | 21.5 | 1 |  | TRUE | 1 | 0 | 0 | FALSE | 0 | 1.4992 | 17.9909 | 110 | 0.73488 | ror | ror | 10.0181 | 3.3394 | 3.3394 | 15.8 | 1.4992 | 17.9909 | on | 121 | 0 | 0 | 0 | FALSE | TRUE | FALSE | FALSE | 0 | 0 | 0 | 0 | 0 | 0 | 0